Title: Blood flow in and around the masseter muscle: Normal and pathologic features demonstrated by color Doppler sonography

Author(s): Ariji Y, Kimura Y, Gotoh M, Sakuma S, Zhao YP, Ariji E

Source: ORAL SURGERY ORAL MEDICINE ORAL PATHOLOGY ORAL RADIOLOGY AND ENDODONTICS 91 (4): 472-482 APR 2001

Document Type: Article

Language: English

Cited References: 33      Times Cited: 4

Abstract: Objective. The purpose of this study was to clarify the normal findings of arteries in and around the masseter muscle and to present their pathologic changes with the use of color Doppler sonography.

Study design. The vascular appearances were examined for the 4 main arteries feeding the masseter muscle in healthy volunteers (n = 38) and patients with inflammation (n = 5) and intramuscular hemangioma (n = 3). The features of these arteries were investigated together with the flow diameter, flow velocities, and arterial resistances. The symmetry indices were also calculated to assess the pathologic changes.

Results, The detection rates of the branch from the transverse facial artery, the masseter artery, and the branch from the maxillary or external carotid artery were 98.7%, 21.1%, and 84.2% in healthy volunteers, respectively. The facial artery that feeds the muscle from the inferior part represented 2 patterns according to anatomic variant: the masseteric branch (22.4%) and the main trunk itself (77.6%). The means of the flow diameter, maximum and minimum velocities, resistive index, and pulsatility index in healthy subjects were 1.8 mm, 24.6 cm/s, 5.1 cm/s, 0.80, and 2.51, respectively. In most of the patients with symptoms, the symmetry indices of all measurement Values increased in comparison with those of healthy volunteers.

Conclusion. Color Doppler sonography is useful in describing the arteries in and around the masseter muscle and has the potential of being used to depict the pathologic changes.

KeyWords Plus: NECK HEMANGIOMAS; VASCULAR MALFORMATIONS; HEAD; DIAGNOSIS; ANGIOGRAPHY; INFECTIONS; CHILDREN; CT

Addresses: Ariji Y (reprint author), Aichi Gakuin Univ, Sch Dent, Dept Oral & Maxillofacial Surg, Chikusa Ku, 2-11 Suemori Dori, Nagoya, Aichi 4648651 Japan
Aichi Gakuin Univ, Sch Dent, Dept Oral & Maxillofacial Surg, Chikusa Ku, Nagoya, Aichi 4648651 Japan
Peking Univ, Sch Stomatol, Dept Oral Radiol, Beijing, 100871 Peoples R China
Aichi Gakuin Univ, Sch Dent, Dept Fixed Prosthodont, Nagoya, Aichi 4648651 Japan

Publisher: MOSBY, INC, 11830 WESTLINE INDUSTRIAL DR, ST LOUIS, MO 63146-3318 USA

Subject Category: DENTISTRY, ORAL SURGERY & MEDICINE; PATHOLOGY; SURGERY

IDS Number: 424ZB

ISSN: 1079-2104